	MISURA DELLA CONCENTRAZIONE DI RADIOATTIVITA’

Rapporto di prova n° 1.1

	Data di rilascio:  4 luglio 2016

	Committente: 

	Descrizione campione: Mattone refrattario sbriciolato

	Prelievo del campione:

Prelievo:    Data indefinita                                      Modalità di prelievo:   A cura del committente

Consegna: 20 maggio 2016                                    Modalità di consegna: A mano



	Strumentazione:

Rivelatore:             HPGe ORTEC GEM-08180-S Risoluzione 1.72 (FWHM) a 1.33 MeV, Co-60

Catena elettronica: NIM-BIN ORTEC: 401A (crate); 459 (HV); 572 (amp.) MCA TRUMP 8k; Software:               GammaVision V6.8

Schermatura:          Pozzetto in piombo spessore 5 cm rivestito all’interno con 0,5 mm rame

Calibratore:            Radionuclide: Becher Marinelli con Eu-152 attività 3050 Bq al 15/06/2016 

                               tipo MBSS 1 SN: 190516-1529003 Czech Metrology Institute (vedi allegato)



	Norme di riferimento:

UNI 10797:1999 “Radionuclidi naturali nei materiali da costruzione – Determinazione mediante spettrometria gamma ad alta risoluzione”



	Risultati:  Data misura:  1 luglio 2016   Durata della misura: Real time: 4223 s; Live time: 4206 s



	Radionuclide
	Energia

(keV)
	Concentrazione

(Bq/kg)
	Errore statistico

(Bqkg)
	MDA

(Bqkg)

	Ra-226
	186,1
	404,0
	60,5
	170,7

	Pb-214
	242,0
	254,3
	26,3
	63,0

	Pb-214
	295,2
	270,4
	12,1
	24,6

	Pb-214
	351,9
	268,2
	8,6
	13,5

	Bi-214
	609,3
	249,9
	9,3
	14,5

	Bi-214
	1764,49
	231,3
	28,5
	47,0

	Pb-212
	238,6
	318,5
	9,1
	12,4

	Tl-208
	510,8
	122,7
	10,5
	25,5

	Tl-208
	583,1
	106,3
	4,6
	7,1

	Ac-228
	911,2
	326,2
	18,0
	26,8

	K-40
	1460,8
	324,1
	39,3
	83,7

	Attività totale da 10,3 a 1982,4 keV = (1383 (158) Bq/kg

	Indice di radioattività – Radiation Protection 112 della Commissione Europea (ISBN 92-828-8376-0)

             Valore misurato                                                        Valori di riferimento

                                 I = 1,74( 0,13                                                    I ( 0,5 esenzione     I (1,0 controllo




                                                                                                                          Prof. Valter Giuliani

Allegato 1

[image: image1.jpg]SPETTRO DI EMISSIONE GAMMA DEL CAMPIONE DI MATERIALE REFRATTARIO ( RealiLive Time = 4223/4206 (s).)

1203
1203

Pb-212
1103

s Pb-214
1063
ase2
ane2
Bse2

8002
7502 Pb-214]
7002
6502

6002 i-214

Bi
se2
= Ra-226
452
402
a5
S0
252 Ac-228
ror T1-208
152
102
s Bi-214
U-J.m L.W,«..  insess o

w0 200 @0 1000 1100 1200 1300 1400 1500 1800 1700 1800
Enevgv(KeV)





Spettro di emissione gamma

[image: image2.jpg]Efficienza

0,02500

0,02000

001500

001000

0,00500

0,00000

Becher Marinelli con Eu-152

nza

— it polinomiale 3° ordin
= valori sperimentali

200

400

600

800
Energia (keV)

1000

1200 1400

1600




Allegato 2

[image: image3.jpg]¢ oby- 796
V. Czech Metrology Institute

Okruzni 31, 638 00 Brno, Czech Republic
phone +420 545 555 111

www.cmi.cz

Workplace: Regional Branch Prague, Radiova 1136/3, 102 00 Praha 10
Ionizing Radiation Building, Radiova 1288/1a
Phone: +420 266 020 497

CERTIFICATE

Certificate No.: 1035 - SE - 40444-16  Type: MBSS 1 Serial No.: 190516-1529003

Half life Activity Combined standard
Radionuclide days kBq uncertainty, %
Eu-152 49388 3,050 13

Mass: 4410 g Density: 0,98 + 0,01g/cm3 Volume: 450,0 + 45 cm3
Radionuclide impurities: Eu-155 0,02 %

Reference date: 15.6.2016 Homogeneity better than: 1%
Description:

Radioactive material is homogeneously dispersed in silicone resin. Composition of the
matrix: C-0,324 H-0,0816 O-0,216 Si- 0,379 (mass ratio).

Measuring method:

Preparation issues from standard ER solutions whose activities were determined by
suitable absolute method. Final control is based on gamma spectrometry on HPGe
detector.

Note:

As the criterion of homogeneity standard deviation of the activity value of 1 cm”3
element was chosen (n=10). The volume is calculated from the mass and the density.

Date of the certificate issue: 6.6.2016

Certificate validity: 3 yeaxy

e




